# Thomas Jefferson University

# Standard Hardware Specifications

Cylindrical Locksets

Best 9K Series Lever Cylindrical Locksets

Best 93K7AB15D (Entrance Function)

Best 93K0N15D (Passage Function)

Best 93K0L15D (Privacy Function)

Best 93K7D15D (Storeroom Function)

# Combination Cylindrical Locksets

Trilogy T2 Model #DL2700IC

# Cabinet Locks

Olympus Interchangeable Core Cabinet Locks

725RL Rim Latch Bolts (self-locking)

721DR Dead Bolts Cabinet Door Lock

721DW Dead Bolt Drawer Lock

Key Switch Devices should be compatible with Best interchangeable Cores.

# Panic Hardware

Von Duprin Series 99 Exit Devices with Lever exterior Trim.

# Over Head Door Stops

Glynn-Johnson 903S-S3 (Heavy Duty) (Hold-Open & Non Hold-Open)

# Door Coordinator

DCI#672 (From Construction Hardware)

# Automatic Flush Bolts

Ives PR559 (for metal doors)

Glynn-Johnson FB8 (for wood doors)

# Electromagnetic Door Hold-Open Devices

Rixon Firemark 24V DC wall mounted electromagnet Hold-Open

# Door Closers

Corbin Model DC6210 M54

Push Pull for Patient Room Door

Trimco 1562P

# Hinges for Millwork Cabinets

Rockford Process Controls, Inc. Institutional Casework Hinge

Model RP374PC26 (3/4” Door)

Model RP376PC26 (13/16” Door)