FIRE SAFETY CHECKLIST

This Fire Safety Checklist is intended as a guide for assessing steps that can be taken to reduce the risk of fire.  Checking “No” to any question may indicate a safety hazard.  This checklist is intended as a guide only and is not all inclusive.

Fire Escape and Detection

Is there more than one way out of every room in your home?	            Yes⁮  No⁮

Are exit routes clear?								Yes⁮  No⁮

Are there working smoke detectors on every floor of your home and

in/near all bedrooms?								Yes⁮  No⁮

Do you change the batteries in the smoke detectors at least twice a year?	Yes⁮  No⁮

Have you conducted a fire drill?						Yes⁮  No⁮

If you live in a large building is there a building-wide fire alarm system?	Yes⁮  No⁮

Heating Elements

Are the oven, stove and furnace in good repair?				Yes⁮  No⁮

Do you turn the oven/stove off as soon as you’re finished using it?		Yes⁮  No⁮

Do you have an annual inspection of your heating system?			Yes⁮  No⁮

Are portable space heaters allowed?						Yes⁮  No⁮

Are any portable space heater kept in good repair and at least several feet

away from any fabric?							Yes⁮  No⁮

Are portable space heaters turned off when you are sleeping or leave

your home?									Yes⁮  No⁮

Electrical

Are any electrical cords in good condition?					Yes⁮  No⁮

Do you avoid using extension cords whenever possible?			Yes⁮  No⁮

When the breaker trips or a fuse blows, do you investigate why it

happened?									Yes⁮  No⁮

Do you ensure that extension cords are never run under rugs or

across doorways?								Yes⁮  No⁮

Do you use the correct type of extension cords (different wattages

require different types of cords)?						Yes⁮  No⁮

Are there GFCI outlets installed in the kitchen and bathrooms?		Yes⁮  No⁮

Fireplaces
If you have a fireplace, is the chimney cleaned and inspected annually?	Yes⁮  No⁮

Do you utilize a safety screen to prevent sparks from igniting items?	Yes⁮  No⁮

Are any flammable materials kept far away from the fireplace?		Yes⁮  No⁮

Other Hazards

Are halogen lamps prohibited?						Yes⁮  No⁮

Do you keep items away from any furnace or heater?			Yes⁮  No⁮

Are any combustible materials (gasoline, propane) stored outside, away

from heat and people?								Yes⁮  No⁮

Do you extinguish candles and incense upon leaving a room or		Yes⁮  No⁮

before sleeping?

Are their carbon monoxide detectors in your home?				Yes⁮  No⁮

Is smoking prohibited in your home?						Yes⁮  No⁮